SPECIFICATIONS FOR PORTABLE DENTAL DELIVERY UNIT…………..2 each

- 3-way syringe

- With High/Low speed hand pieces

- With air/water controller/adjustment and Foot Control

- With Saliva Ejector and HVE

- With Suction/Vacuum capacity

- With self-contained water bottle system

- With built-in ¾ HP compressor, 110 volts, 60 hertz

- With Shipping cost

- CIF-Yap