SPECIFICATIONS FOR PORTABLE DENTAL R.O. WATER SYSTEM……1 each

- 110 VOLTS, 60 HERTZ

- Feed water pressure 40 psi – 90 psi

- Production Rate 50 Gallons a day

- Water pH:  5 – 10

- With water outlet faucet with valve

- With water input hose with fittings on both ends

- With quick-disconnect hoses and fittings

- With Mult-stage filters:  water input sediment filter, carbon filters, R.O. filters

- With 1 each spare sediment filters, carbon filters, R.O. membrane cartridge filters

- With built-in water booster pumps

- With Shipping cost

- CIF-Yap